## Slide 1: Safety Plan Boston Green Academy
Holzer, Matthew
20 Warren Street
Brighton, 02134
Phone: (617) 635-9860
Fax: (617) 635 - 9858

## Slide 2
Index
Locations & Communications
Personnel
Facility Information
Students & Staff
Communication
Rescue Equipment

## Slide 3
Section 1: Locations & Communications
Command Locations
 | Primary | Secondary
Room | 119 | 121
Name | Headmaster's Office | Main Office
Phone | 617-635-8937 ext.105 | 617-635-8937 ext.100
Primary Assembly Locations
Location 1 | Location 2
Parking Lot | Ringer Playground, rear of J. Mann School
Backup Assembly Locations
Location 1 | Location 2
Brighton High | Jackson Mann Complex
635-9873 | 635-6666
Evacuation Communication
Via the PA System announce that a Tier 1 Green situation exists, Please use appropriate routes and proceed to the assembly locations.
Containment Communication
Via the PA system the announcement will be made that a Tier 1 red situation exists, please initiate containment procedures.

## Slide 4
Section 2: Personnel
Site Incident Control Managers
 | Primary | Secondary
Name | Matt Holzer, Headmaster | Jeff Becker, Asst. Headmaster
Phone | 617-635-9860 | 617-635-9860
Cell | 857-210-5261 | 857-210-5277
Alternate |  | 
Safety Coordinators
 | Primary | Secondary
Name | Alex Colon, School Police | Regi Loving, CFC
Phone | 617-635-9860 | 617-635-9860
Cell | ---- | ----
Alternate | --- | 
Primary Risk Coordinators
 | Primary | Secondary
Name | Matt Holzer, Headmaster | Jeff Becker, Asst. Headmaster
Phone | 617-635-9860 | 617-635-9860
Cell | 857-210-5261 | 857-210-5277
Building Control Managers
 | Primary | Secondary

## Slide 5
Name | Pat Lawlor (days) | Oscar Roque (nights)
Phone | 617-635-9860 | 617-635-9860
Cell | 617-593-8931 | 617-828-1850
Alternate |  | 
Incident Scribe
 | Primary | Secondary
Name | Jennifer Rios, Head Staff Assistant | Jeff Becker, Asst. Headmaster
Phone | 617-635-9860 | 617-635-9860
Cell | 857-205-2068 | 857-210-5277
Section 3: Facility Information
 | Location
Auditorium | First Floor
Boiler Room | Basement
Cafeteria | Basement
Computer Lab | Library, 205
Fire Escapes | 
Gymnasium | Sub Basement
Hazardous Materials | Custodians Machinery Office/ sub basement. Chemistry Storage Room (307)
Health Center | Basement
Library | Second Floor
Loading Dock | 

## Slide 6
Nursing Office | Basement
Out Buildings | 
Playground | 
Ramps | Cambridge St. Side of Building
Utility Room | Basement
Other Common Areas | Library second floor
Attic/Penthou se | Penthouse access from Room 307
Basement or Crawlspace Access | Basement access from all stairwells, Crawlspace basement access 3 areas
Community Center | 
Elevators | One elevator
Fire Safety Systems | Smoke detectors in stairwells and Heat detectors
Grounds Maintenance | 
Kitchen Area | Basement
Motion Detectors | Hallways and stairwells
Pull Stations | Main Lobby, basement areas and all stairwells
Security Systems | Motions detectors in hallways and exterior doors are alarmed
Swimming Pool | 
Vocational Shop Areas | 

## Slide 7
Compressed Gas Present | 
Liquid Fuels Present | Gasoline for lawnmower, snow blower is stored in Room B07
Section 4: Students and Staff
Total Student Enrollment: 521 (as of 8/29/2019)
Total Staff Enrollment: 75
Comments: This includes Teachers, Paras, Admin, SST and support staff. We also have student teachers, interns and itinerant service providers.
Student/Staff Disabilities Information:
Evacuation Plan for Students Physically Impaired These students are in small classes (no more than ten students and no more than one student with a physical impairment) or they are in the inclusion classes with two staff members. In case of an emergency students are to be brought down by the teacher in charge to the nearest exit and exit the building. Once outside students are to wait for further instructions. No wheelchair bound students at present.
Section 5: Communications
Communications Equipment
Equipment | Available? | Quantity | Notes
Two-Way Radios | No |  | 
In House Radios | Yes-Operational | 12 | 
Intercom | Yes-Operational |  | 

## Slide 8
PA System | Yes-Operational |  | 
House Phone | Yes-Operational |  | 
Others? | No |  | 
Locations
 | Room # | Assignee | Number
Main Office | 121 | Main Office, Jennifer Rios | 617-635-9860
Principal’s Office | 119 | Matt Holzer | 617-635-9860
Guidance Office | Guidance S | Jodi Then | 617-635-9860
Custodian’s Office | B04 | Pat Lawlor | 617-635-9860
Nurse’s Office | B29 | Marta Bausemer | 617-635-9860
ETF Office | 104 | June Grunert | 617-635-9860
Student Support Room | B06A | Brian Gonsalves | 617-635-9860
Pool | NA |  | 
Safety Office |  | Alex Colon | 617-635-9860
Section 6: Fire/Rescue
Floor Captains |  | 
Floor | Floor Captain | Notes
Basement | Jacki Sims | 

## Slide 9
1 | Matt Holzer | 
2 | Jeff Becker | 
3 | Regi Loving | 
Evacuation Matrix |  |  |  |  | 
Exit | Stairwell | Rooms Serviced | Alternate Route | Primary Refuge | Secondary Refuge
Number 1 | Stair case 1 | 101, 102, 201, 202, 203, 301, 302, 303, B01, B02 | Staircase 2 to Cambridge street | Gym | Auditorium
5 |  |  |  |  | 
Number 6 | Staircase #6 | 108,109,110,111, 207,208,209,210 | Staircase#5 | Cafeteria | Auditorium
Number 7 | Stair case #7 | Gymnasium, Nurse's office | Cafeteria to B38 | Gym | Auditorium
Number A1 | Warren/C ambridge Street | Auditorium | Stair case 1 and stair case 2 | Gym | Cafeteria
Number 2 | Staircase 2 | B06, 105, 106, 204, 205, 206, 304, 305, 306, 307, 315, 107, B07 | Staircase #1 to Warren street | Gym | Auditorium
Number 5 | Staircase #5 | 112, 113, 114, 115, 212, 213, 214, 215, 240 | Staircase #6 to Warren street | Cafeteria | Auditorium
2 |  |  |  |  | 
Safety Equipment & Locations
Primary Entry Location: Corner of Warren and Cambridge - Main Entrance - 1st floor

## Slide 10
Alternate Entry Location: Cambridge Street entrance via accessible ramp onto basement level in Annex building
AED Machines: Yes
AED Location: Outside the main office on both sides of the building.
Staff Trained in the use of AED:
Evacuation Instructions Posted in Classrooms: No
Building Construction Type: TypeIIIB
Smoke Detectors Location:
Heat Detectors Location:
Annunciator Panel Location:
Sprinkler Systems: (not indicated)
Partial Sprinkler Location:
Pull Station Locations:
Standpipe: (not indicated)
Kitchen Hood Exhaust System: (not indicated)
Fire Alarm System Equipped with Pre-Signal? (not indicated)
Does staff have access to fire extinguishers? Yes Are fire extinguishers serviced regularly? Yes Fire extinguisher service date: NULL
Smoke control doors (triggered by fire alarm)? No
Does the school have a policy to keep doors closed during a fire emergency? Yes
Does the school ensure that means of egress are kept clear and unobstructed? Yes
Does the school keep exit doors unlocked during operating hours? No Does the school keep exit doors unlocked during operating hours? No Building contains appropriate door lock hardware: Yes
Evacuation Plans present and posted in classrooms: Yes
Fire drill reports available in main office: Yes
Fire alarm reports available in fire panel: Yes Certificate of Occupancy/Inspection Permit visible: Yes Suppression System Test: Yes
Kitchen Hood Duct Cleaning Certificate: Yes
Training
Staff trained on Fire Extinguisher locations: 8/26/2016
Staff trained on Fire Extinguisher operations: 8/26/2016

## Slide 11
Staff training sign-off sheet: Yes